## Disclaimer
Disclaimer
This tranmission outlook workbook contains data provided by or collected from third parties, and conclusions, opinions, assumptions or forecasts that are based on that data. AEMO has made every effort to ensure the quality of the information in this workbook but cannot guarantee that the information and assumptions in it are accurate, complete or appropriate for your circumstances. This workbook does not include all of the information that an investor, participant or potential participant in the electricity or gas market might require, and does not amount to a recommendation of any investment. Anyone proposing to use the information in this workbook should independently verify and check its accuracy, completeness and suitability for purpose, and obtain independent and specific advice from appropriate experts. This dataset or the information in it may be subsequently updated or amended. This work does not constitute legal or business advice, and should not be relied on as a substitute for obtaining detailed legal advice about the National Electricity Law, the National Electricity Rules, or any other applicable laws, procedures or policies. Accordingly, to the maximum extent permitted by law, AEMO and its officers, employees and consultants involved in the preparation of this document:
• | make no representation or warranty, express or implied, as to the currency, accuracy, reliability or completeness of the information in this workbook; and
• | are not liable (whether by reason of negligence or otherwise) for any statements, opinions, information or other matters contained in or derived from this publication, or any omissions from it, or in respect of a person’s use of the information in this workbook.

## NSW
New South Wales - Projected transmission network requirements |  |  |  | 2020-2030
2031-2040
Zone | Network Augmentation | Driver for augmentation | Neutral | Neutral with storage | Slow | Fast | High DER | Additional Capacity (MW) | Indicative cost ($M) +/-50%
Northern New South Wales (NNS) | Uprate Liddell-Muswellbrook-Tamworth and Liddell-Tamworth 330 kV lines | Increase transfer between Queensland and New South Wales (QNI Option 3) | ✓ | ✓ | ✓ | ✓ | ✓ | +460/-190 | 142
| SVCs at Dumaresq and Tamworth substations and, shunt cap banks at Tamworth, Armidale and Dumaresq |  | ✓ | ✓ | ✓ | ✓ | ✓
| 2x330 kV new circuits between Armidale and Bulli Creek | Increase transfer between Queensland and New South Wales (QNI Option 5) | ✓ | ✓ | ✓ | ✓ | ✓ | +460/-568 | 525
| Uprate Armidale-Tamworth 330 kV lines (Line 85 & 86) | Increased renewable generation in NNSW | ✓ | ✓ | ✓ | ✓ | ✓ | 300 | 80
| Establish Uralla Substation (cut-in Armidale-Tamworth 330 kV lines - Line 85 & 86) | Increased renewable generation in NNSW | ✓ | ✓ | x | ✓ | ✓ | 1500 (330 kV option) 3400 (500 kV option) | 55
| 2x330 kV circuits between Armidale and Uralla | Increased renewable generation in NNSW | ✓ | ✓ | x | ✓ | x
| 2x330 kV circuits between Uralla and Bayswater; or 2x500 kV lines between Uralla and Bayswater and, a new 500/330 kV substation at Uralla with increased renewable generation | Increased renewable generation in NNSW & pumped storage in New England | ✓ | ✓ | x | ✓ | ✓ |  | 296 (330 kV option) 654 (500 kV option)
| 2x330 kV circuits between Gunnedah and Wollar | Increased renewable generation in NWNSW | ✓ | ✓ | x | ✓ | ✓ | 1500 | 257
| 2x330 kV circuits between Gunnedah and Tamworth (network to pumped storage at New England) | Increased renewable generation in NWNSW | ✓ | ✓ | x | ✓ | ✓ (Note 1) | 1500 | 101
Central New South Wales (NCEN) & Canberra (CAN) | 1x 500/330 kV transformer at Wollar (second) | Increased renewable generation in Central | ✓ | ✓ | x | ✓ | x | 700 | 21
| 1x330 kV line between Mt Piper and Wallerawang (third) | Increased renewable generation in Central and Central West NSW and increased flow from Bayswater/Bannaby | ✓ | ✓ | x | ✓ | ✓ | 700 | 8
| 1x330 kV line between Wellington and Wollar | Increased renewable generation in Central and Central West NSW | ✓ | ✓ | x | ✓ | x | 1500 | 450
| 1x 500/330 kV transformer at Wollar (third) | Increased renewable generation in Central and Central West NSW | ✓ | ✓ | x | ✓ | x
| 2x330 kV circuits between Central West (new substation) and Wellington | Increased renewable generation in Central West NSW | ✓ | ✓ | x | ✓ | x
| Uprate the Upper Tumut-Canberra 330 kV line | Increased export from VIC to NSW (VNI Option 1) | ✓ | ✓ | ✓ | ✓ | ✓ | 120 | 5
| 1x500 kV single circuit between Wagga and Bannaby and, 1x500/330 kV transformer at Wagga | Increased renewable generation in SNSW, Murray and Riverland REZs / Snowy 2.0 / SnowyLink | ✓ | ✓ | ✓ | ✓ | ✓ | 3000 | 1150
| Establish a new substation in Snowy (cut-in Upper Tumut - Lower Tumut 330 kV line and establish a substation for Snowy 2.0) with 500/330 kV transformers |  | ✓ | ✓ | ✓ | ✓ | ✓
| 1x500 kV line between Snowy 2.0 and Bannaby |  | ✓ | ✓ | ✓ | ✓ | ✓
| 1x500 kV line between Snowy 2.0 and Wagga |  | ✓ | ✓ | ✓ | ✓ | ✓
| 2x500 kV circuits between Darlington Point and Wagga (coordinate with Riverlink option) |  | ✓ | ✓ | ✓ | ✓ | ✓
| Power flow controller on the Bannaby-Sydney West 330 kV line (Line #39) to limit power flow |  | ✓ | ✓ | ✓ | ✓ | ✓
| 1x500/330 kV transformer at Bannaby (third) |  | ✓ | ✓ | ✓ | ✓ | ✓ |  | 21
| A double circuit 500 kV line between Wagga and Bannaby | NSW Coal retirements and increased generation in SNSW, Murray and Riverland REZs and increased import from VIC | ✓ | ✓ | x | ✓ | x | 2000 | 520
| A double circuit 500 kV line between Bannaby and Kemps Creek |  | ✓ | ✓ | ✓ | ✓ | ✓ | 2000 | 190
| Power flow controllers on the Bannaby-Mt Piper 500 kV circuits (Line 5A6 & 5A7) to increase power flow from Bannaby to Mt Piper. |  | ✓ | ✓ | ✓ | ✓ | ✓ |  | 200
| Establish new substation between Kemps Creek and Eraring with 2x500/330 kV transformers (cut into Kemps Creek-Eraring 500 kV circuits (5A1 and 5A2) and Sydney West - Bayswater 330 kV circuits (32 and 38)) |  | ✓ | ✓ | ✓ | ✓ | ✓ |  | 98
| Uprate Yass-Marulan (Line 4 & 5), Bannaby-Gullen Range (Line 61), Kangaroo Valley-Dapto (Line 18), Dapto-Avon (Line 11), Marulan-Avon (Line 16) and Marulan-Dapto (Line 8) 330 kV lines |  | ✓ | ✓ | ✓ | ✓ | ✓ |  | 10
Southern New South Wales (SNSW) | 2x330 kV circuits between Buronga and Robertstown | Increased transfer between South Australia and New South Wales (RiverLink option) | ✓ | ✓ | ✓ | ✓ | ✓ | 1500 | 1270
| 2x330 kV circuits between Buronga and Darlington Point |  | ✓ | ✓ | ✓ | ✓ | ✓
| Uprate existing Darlington Point - Wagga 330 kV line |  | ✓ | ✓ | ✓ | ✓ | ✓
| Second 330 kV circuit between Darlington Point-Wagga (This circuit can be 500 kV and operated at 330 kV until the timing of SnowyLink 500 kV south in service) |  | ✓ | ✓ | ✓ | ✓ | ✓
| 1x330/220 kV transformer at Buronga |  | ✓ | ✓ | ✓ | ✓ | ✓
| 4xPhase shift transformers at Buronga |  | ✓ | ✓ | ✓ | ✓ | ✓
| 2x330 kV circuits between Buronga and Wagga (or 500 kV if no storage in this area) | Increased renewable generation in Murray and Riverland REZs | ✓ | ✓ | x | ✓ | ✓ | 1400 | 670
Note 1. | A single 330 kV circuit with High DER scenario.

## QLD
Queensland - Projected transmission network requirements |  |  |  | 2020-2030
2031-2040
Zone | Network Augmentation | Driver for augmentation | Neutral | Neutral with storage | Slow | Fast | High DER | Additional Capacity (MW) | Indicative cost ($M) +/-50%
Central Queensland (CQ) | A 275 kV new double circuit line between Calvale and Larcom Creek | Retirement of Gladstone generation | ✓ | ✓ | ✓ | ✓ | ✓ | 1200 | 95
| An additional 275/132 kV transformer at Calliope River (third) |  | ✓ | ✓ | ✓ | ✓ | ✓ |  | 15
| Rebuild the Bouldercombe-Calliope River 275 kV line as Bouldercombe-Larcom Creek-Calliope River 275 kV line with high thermal capacity; and Rebuild the Calliope River-Larcom Creek-Raglan-Bouldercombe 275 kV line with high thermal capacity | Asset renewal Timing could be brought forward with retirement of Gladstone generation. | ✓ | ✓ | ✓ | ✓ | ✓ |  | Asset Renewal
South West Queensland (SWQ) | 2x330 kV new circuits between Armidale and Bulli Creek | QNI Option 5 | ✓ | ✓ | ✓ | ✓ | ✓ | +460/-568 | 525

## SA
South Australia - Projected transmission network requirements |  |  |  | 2020-2030
2031-2040
Zone | Network Augmentation | Driver for augmentation | Neutral | Neutral with storage | Slow | Fast | High DER | Additional Capacity (MW) | Indicative cost ($M) +/-50%
Northern South Australia (NSA) | 2x330 kV circuits between Buronga-Robertstown | Increase transfer between South Australia and New South Wales (RiverLink option) | ✓ | ✓ | ✓ | ✓ | ✓ | 1500 | 1270 (Note 1)
| 2x330/275 kV transformers at Robertstown |  | ✓ | ✓ | ✓ | ✓ | ✓
| Second 275 kV circuit between new switching station (on the Davenport -Cultana 275 kV line) and Mt Gunson | Increased renewable generation | ✓ | ✓ | x | ✓ | x | 740 | 62 (Note 2)
| An additional 1x275 kV circuit between Davenport and Robertstown | Increased renewable generation | ✓ | ✓ | x | ✓ | x | 1000 | 250
| An additional 1x275 kV circuit between Davenport and Para | Increased renewable generation | x | x | x | ✓ | x | 1000 | 365
Note 1 | Cost includes total estimated cost of Riverlink option including projects in NSW region
Note 2 | ElectraNet is in the process of installing a 275 kV line between Davenport area and Mount Gunson South to supply Prominent Hill. This cost represents additional cost for construction of double circuit line to accommodate second 275 kV circuit.

## TAS
Tasmania - Projected transmission network requirements |  |  |  | 2020-2030
2031-2040
Zone | Network Augmentation | Driver for augmentation | Neutral | Neutral with storage | Slow | Fast | High DER | Additional Capacity (MW) | Indicative cost ($M) +/-50%
Tasmania (TAS) | Second VIC-TAS HVDC between Port Latta/Smithton (TAS) and East Geelong (TAS) | Second VIC-TAS IC | x | ✓ | x | x | x | 700/ 1000 (Note 1) | 888
| 2x220 kV circuits between Port Latta/Smithton and Sheffield | Second VIC-TAS IC and/or Wind generation in NWTAS | x | ✓ | x | x | x
| Replace Sheffield-Palmerston 220 kV circuit with a new double circuit 220 kV line | Second VIC-TAS IC and/or Wind generation in NWTAS | x | ✓ | x | x | x |  | 105
| 2x220 kV new circuits between Palmerston and Waddamana | High wind generation in TAS Midlands - REZ and pumped hydro generation in Midlands in central high storage scenario | x | ✓ | x | ✓ | x | 600 | 70
| Uprating, paralleling and/or reconductoring of existing 220 kV lines between Sheffield and nearby hydro generating stations and additional 220 kV extensions from Sheffield to proposed pumped hydro storage generators. | Pumped hydro generation in north-west (Mersey Forth) and connection to Sheffield substation. | x | ✓ | x | x | x | 1500 | Station specific and not available
Note 1. | VIC-TAS HVDC cable capacity is 700 MW; Network capacity for additional generation is ~1000 MW.

## VIC
Victoria - Projected transmission network requirements |  |  |  | 2020-2030
2031-2040
Zone | Network Augmentation | Driver for augmentation | Neutral | Neutral with storage | Slow | Fast | High DER | Additional Capacity (MW) | Indicative cost ($M) +/-50%
Latrobe Valley (LV) | Braking resister at Loy Yang or Hazelwood 500 kV, battery storage or FACTS device to increase transient stability | Increased export from VIC to NSW (VNI Option 1) | ✓ | ✓ | ✓ | ✓ | ✓ | +170/- | 80 (Note 1)
Melbourne (MEL) | An additional new 500/330 kV transformer at South Morang |  | ✓ | ✓ | ✓ | ✓ | ✓
| Uprate the South Morang-Dederang 330 kV lines and series capacitor; Uprate the Upper Tumut -Canberra 330 kV line (NSW) |  | ✓ | ✓ | ✓ | ✓ | ✓
| Replace 220 kV circuits between Geelong and East Geelong with high conductor rating | Second VIC-TAS interconnection at East Geelong | x | ✓ | x | x | x | 300
| A new 220 kV double circuit line between Geelong and Keilor (replace existing Geelong-Keilor No.1 and No.3 circuits) | Increased renewable generation in Western VIC, Moyne and Murray REZs | ✓ | ✓ | ✓ | ✓ | ✓ | 250 | 75
| 1x220 kV new circuit between Moorabool and Geelong |  | ✓ | ✓ | ✓ | ✓ | ✓ | 800 | 11
| Upgrade the Sydenham-Keilor 500 kV line to its conductor rating (Increase secondary plant limits) | Increased renewable generation in Western VIC, Moyne and Murray REZs and/or import from NSW | ✓ | ✓ | ✓ | ✓ | ✓ | 800 | 0.5
| An additional 500/220 kV transformer at Keilor or Coordinate works associated with asset renewal of existing three 500/220 kV transformers with high rated transformers. |  | ✓ | ✓ | ✓ | ✓ | ✓ | 800 | 25
| 1x500 kV new line between Moorabool and Mortlake; | Increased renewable generation in Moyne REZ | x | x | x | ✓ | x | 2000 | 240
| An additional 500/220 kV transformer at Moorabool |  | x | x | x | ✓ | x | 1000 | 25
Country Victoria (CVIC) | 2x220 kV new circuits between Ararat and Ballarat; and 1x220 kV new circuit Ararat-Crowlands-Bulgana | Increased renewable generation in Western VIC REZ | ✓ | ✓ | ✓ | ✓ | ✓ | 1200 | 146
| 1x220 kV new circuit Bulgana-Horsham-Murra Warra |  | ✓ | ✓ | x | ✓ | ✓ |  | 136
| 1x220 kV circuit between Horsham and Ballarat (third) |  | x | x | x | ✓ | x | 800 | 233
| 1x220 kV new circuit between Red Cliffs and Buronga; and 1x330/220 additional new transformer at Buronga (second) | Increased renewable generation in Murray REZ (VIC) | ✓ | ✓ | ✓ | ✓ | ✓ | 225 | 50
| 2x220 kV circuits Red Cliffs-Wemen-Kerang (replace existing line) | Increased renewable generation in Murray and Riverland REZ | ✓ | ✓ | x | ✓ | ✓ | 1200 | 323
| 2x220 kV circuits Red Cliffs-Wemen-Kerang |  | x | x | x | ✓ | x | 1200 | 300
| 2x500 kV new circuits between Ballarat and Sydenham 2x500/220 kV transformers at Ballarat | Increased renewable generation in Western VIC REZ & staged development of SnowyLink | ✓ | ✓ | ✓ | ✓ | ✓ | 2500 | 1550
| 2x500 kV new circuits between Ballarat and Bendigo | SnowyLink and increased renewable generation in Murray REZ | ✓ | ✓ | ✓ | ✓ | ✓
| 2x500 kV new circuits between Kerang and Bendigo |  | ✓ | ✓ | ✓ | ✓ | ✓
| 2x500 kV new circuits between Kerang and Darlington Point |  | ✓ | ✓ | ✓ | ✓ | ✓
| 2x500/220 kV transformers at Ballarat, Bendigo and Kerang |  | ✓ | ✓ | ✓ | ✓ | ✓
| Power flow controller on the Bendigo-Shepparton 220 kV line to limit power flow on this line to its maximum thermal capacity (if necessary). | To divert generation from Western VIC and Murray VIC REZs to NSW via SnowyLink route. | ✓ | ✓ | ✓ | ✓ | ✓
Northern Victoria (NVIC) | Power flow controller on the Murray-Dederang and Wodonga-Dederang 330 kV lines to limit power flow on these lines to their maximum thermal capacity (if necessary). | VIC access to increased generation from Snowy generators including Snowy 2.0 via SnowyLink route. | ✓ | ✓ | ✓ | ✓ | ✓ |  | 150
| Automatic load shedding control scheme to manage potential overload on the Murray-Dederang 330 kV lines and Eildon-Thomastown 220 kV line | Increased import from NSW to VIC at times of high demand periods coinciding with high ambient temperature | ✓ | ✓ | ✓ | ✓ | ✓ | 200 | Not available
Note 1. Cost estimate of a braking resister is included in the total cost estimate.